SPECIFICATION

Section 07900/079500

Previous 05800

Wabo®CorridorWrap

Model(s) “CWFC/C”, “CWFF/C”, “CWFS/C” and “CWFT/C”

Horizontal Expansion Control Systems

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications. The joints are proprietary designs utilizing extruded elastomeric seals, base members and support plates.

B.	Related Work

- Cast-in-place concrete

- Miscellaneous and ornamental metals

- Flashing and sheet metal

- Sealants and caulking

1.02	Submittals

A.	Template Drawings - Submit typical expansion joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in each manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as manufactured/supplied by Sika Emseal, 25 Bridle Lane, Westborough, MA 01581 USA

B.	Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid. All post bid submittals will not be considered. This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

-  Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the floor construction that is specific to the project.  Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing prior and successful experience with the proposed systems.

- Any substitution products not adhering to all specification requirements within, will not be considered.

  - Quality Assurance

- Warranty: Standard material limited warranty or project specific warranty available. Installation shall be in strict accordance with manufacturer’s technical specifications, details, installation instructions and general procedures in effect for normal intended usage and suitable applications under specific design movements and loading conditions.

- Manufacturer: Shall have a minimum ten (10) years experience specializing in the design and manufacture of Architectural Expansion Control Systems

- Application: Minimum 2 years [documented] experience in work of this Section

PART 2 - PRODUCT

2.01 	General

A.	Provide a low profile expansion joint system that has been designed to accommodate new or existing construction. Incorporate a colorable elastomeric seal that demonstrates ability to remain flat during normal movement cycles. Provide a complete system that exhibits a flush transition between opposing slabs and adjacent finish floor surfaces that complies with ADA guidelines.

Furnish Wabo®CorridorWrap, Carpet (Model “CWFC/C”), Flush (Model “CWFF/C”), Surface (Model “CWFS/C”) or Tile (Model “CWFT/C”) Expansion Control System for interior floors as manufactured by Sika Emseal and as indicated on drawings.

2.02 	Components and Materials

A.	Aluminum Extrusions - Design low height profile with cavity to receive locking lug of elastomeric profile. Provide alternate profiles for concrete slabs with and without blockouts. Where surface mounted profiles are utilized, provide non-slip walking surface designed with a tapered edge to meet the finish floor surface. Material is to conform to properties of ASTM B221, Alloy 6061-T6 or 6063 T-5.

B.	Aluminum Shapes - Material to conform to ASTM B209, alloy 6061-T6 or 5005-H34.

C.	Elastomeric Seals - Material shall be a flexible extruded polyvinyl chloride or manufacturer’s alternate material exhibiting a Shore A hardness of 75 with U.V. stabilizer. Provide multi-cellular profile with internal webs that form a truss-like structure that transfers service loads to the underlying support plate (If available). The profile shall be flexible and exhibit a non-slip exposed surface that remains flat during normal movement cycles.

D.	Anchorage - Provide 1/4” (#12) diameter x 1 ¾” lg. (min.) threaded concrete anchor. Style of anchor and head configuration will be determined by type of extrusion profile utilized. Spacing shall be 24” O.C. maximum for all systems.

- Accessories - Provide necessary and related parts required for complete installation. Where project requirements dictate watertight performance, utilize manufacturer’s standard adhesives and bedding compounds to install the system’s components.

F.    Blockout Repair (recommended) - Utilize a single component rapid strength repair mortar.

G.  Blockout Infill (recommended) - Utilize a non-catalyzed, non-shrink grout containing mineral aggregate.

H.	Fire Barrier Assembly - Designed to provide the required fire endurance rating, minimize passage of smoke and accommodate dynamic movement without stress or degradation to its components. Test system in maximum joint width incorporating a field splice in accordance with UL-2079. Supply Sika Emseal Emshield®  DFR2 (1-2-hour) , or DFR3 (3-hour) for joints ½” to 4” wide or Wabo®FireFlex (up to 20” wide and 2-hour fire rating) Fire Barrier Blanket System as governed by joint opening, test requirements and fire rating.

2.03	Fabrication

A.	Aluminum extrusions to be shipped in standard 10ft. lengths and shall be cut to length on jobsite where required. Extrusions shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

B.	Anchor holes shall be field drilled in accordance with manufacturer’s drawings.

C.	Elastomeric seals shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

D.	Fire Barriers - Ship manufacturer’s standard assembly for the required hourly rating. Assemblies shall be miter cut in the field to accommodate changes in direction.

2.04	Finishes

A.	Aluminum extrusions shall be supplied in standard mill finish.

B.	Elastomeric seal shall be supplied in standard color offering: black, beige or gray. Optional custom colors available. Select from manufacturers standard Color Choice color offering.

C.	Surfaces of aluminum extrusions that will be in direct contact with concrete where moisture is present shall receive manufacturer’s recommended coating.

PART 3 - EXECUTION

3.01	Installation

A.	Protect all expansion joint component parts from damage during installation of flooring materials, work in adjacent areas and thereafter until completion of structure.

B.	Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

C.	Expansion joint systems shall be set to the proper width for the ambient temperature at the time of installation. This information is indicated in the contract plans.

3.02	Clean and Protect

A.	Protect system and its components during construction. After the system installation is complete in adjacent areas, clean exposed surfaces with a suitable cleaner that will not harm or attack the elastomeric material or metal finishes.